## Measurements
Data acquired by students in 2016 (written in black)
Initially missing data added (guessed) by me (written in red)
input is in on yellow background | [11 empty] | n = | 1.4919 |  | theta_B = | 56.1667 | ° |  | diff theta _B |  |  | theta_B = | 58.471 | °
TM polarization | [18 empty] | 2.3043
| Angle reading for perpendicular incidence: |  |  | 85 | ° | [6 empty] | R_0° = | 3.897% | [5 empty] | Relative deviation |  |  | n =
| Photodiode signal with laser directly on detector (no prism) |  |  |  | 10.04 | V | [5 empty] | P_i0° = | 12.3181 | V |  |  |  |  | -3.941% |  |  | 1.63
| Photodiode signal w/o laser (no prism) |  |  |  | 0.12 | V | [18 empty] | Copy of data
[11 empty] | Corrected experimental data | [5 empty] | model | [7 empty] | For qtiplot (needs commas)
| Angle reading (°) | Photodiode signal with laser (V) | Photodiode signal w/o laser (V) | [7 empty] | Angle reading (°) | AOI (°) | refl pow signal (V) | R (with direct meas) | R (norm) |  | AOI (°) | AOI (rad) | transm angle (°) | transm angle (rad) | R (model) | transm angle (°) | transm angle (rad) | R (fitted model)
| 172.25 | 8.28 | 0.11 | [7 empty] | 172.4167 | 87.4167 | 8.17 | 0.82359 | 66.33% |  | 0 | 0 | 0 | 0 | 0.038967 | 0 | 0 | 0.057381 | 87,4166666666667 | 0,823588709677419
| 167.258 | 3.9 | 0.08 | [7 empty] | 167.4167 | 82.4167 | 3.82 | 0.38508 | 31.01% |  | 1 | 0.017453 | 0.67027 | 0.011698 | 0.038951 | 0.61348 | 0.010707 | 0.05736 | 82,4166666666667 | 0,38508064516129
| 162.25 | 1.88 | 0.12 | [7 empty] | 162.4167 | 77.4167 | 1.76 | 0.17742 | 14.29% |  | 2 | 0.034907 | 1.3404 | 0.023395 | 0.038903 | 1.2268 | 0.021412 | 0.057295 | 77,4166666666667 | 0,17741935483871
| 157.25 | 0.57 | 0.15 | [7 empty] | 157.4167 | 72.4167 | 0.42 | 0.042339 | 3.41% |  | 3 | 0.05236 | 2.0103 | 0.035087 | 0.038824 | 1.84 | 0.032113 | 0.057188 | 72,4166666666667 | 0,0423387096774193
| 152.25 | 0.32 | 0.16 | [7 empty] | 152.4167 | 67.4167 | 0.16 | 0.016129 | 1.299% |  | 4 | 0.069813 | 2.6799 | 0.046774 | 0.038712 | 2.4527 | 0.042808 | 0.057038 | 67,4166666666667 | 0,0161290322580645
| 147.25 | 0 | 0 | [6 empty] | 10 | 147.4167 | 62.4167 | 0 | 0 | 0% |  | 5 | 0.087266 | 3.3491 | 0.058452 | 0.038569 | 3.0651 | 0.053495 | 0.056845 | 62,4166666666667 | 0
| 142.25 | 0 | 0 | [7 empty] | 142.4167 | 57.4167 | 0 | 0 | 0% |  | 6 | 0.10472 | 4.0177 | 0.070121 | 0.038394 | 3.6768 | 0.064172 | 0.056608 | 57,4166666666667 | 0
| 137.25 | 0 | 0 | [7 empty] | 137.4167 | 52.4167 | 0 | 0 | 0% |  | 7 | 0.12217 | 4.6855 | 0.081778 | 0.038186 | 4.2878 | 0.074836 | 0.056329 | 52,4166666666667 | 0
| 132.25 | 0.14 | 0 | [7 empty] | 132.4167 | 47.4167 | 0.14 | 0.014113 | 1.137% |  | 8 | 0.13963 | 5.3527 | 0.093421 | 0.037947 | 4.898 | 0.085486 | 0.056006 | 47,4166666666667 | 0,0141129032258065
| 127.25 | 0.21 | 0 | [7 empty] | 127.4167 | 42.4167 | 0.21 | 0.021169 | 1.705% |  | 9 | 0.15708 | 6.0188 | 0.10505 | 0.037676 | 5.5073 | 0.09612 | 0.05564 | 42,4166666666667 | 0,0211693548387097
| 122.25 | 0.31 | 0 |  |  |  | Uncertainty in angle reading: | 5 | arc minutes |  | 122.4167 | 37.4167 | 0.31 | 0.03125 | 2.517% |  | 10 | 0.17453 | 6.684 | 0.11666 | 0.037372 | 6.1155 | 0.10674 | 0.055231 | 37,4166666666667 | 0,03125
| 117.25 | 0.35 | 0 |  |  |  | Uncertainty in voltage reading: | 0.01 | V |  | 117.4167 | 32.4167 | 0.35 | 0.035282 | 2.841% |  | 11 | 0.19199 | 7.348 | 0.12825 | 0.037036 | 6.7225 | 0.11733 | 0.054778 | 32,4166666666667 | 0,0352822580645161
| 112.25 | 0.38 | 0.01 | [7 empty] | 112.4167 | 27.4167 | 0.37 | 0.037298 | 3.004% |  | 12 | 0.20944 | 8.0108 | 0.13982 | 0.036668 | 7.3282 | 0.1279 | 0.054282 | 27,4166666666667 | 0,0372983870967742
| 107.25 | 0.45 | 0 | [7 empty] | 107.4167 | 22.4167 | 0.45 | 0.045363 | 3.653% |  | 13 | 0.22689 | 8.6722 | 0.15136 | 0.036267 | 7.9325 | 0.13845 | 0.053742 | 22,4166666666667 | 0,0453629032258065
| 102.25 | 0.48 | 0 | [7 empty] | 102.4167 | 17.4167 | 0.48 | 0.048387 | 3.897% |  | 14 | 0.24435 | 9.3321 | 0.16288 | 0.035834 | 8.5353 | 0.14897 | 0.053158 | 17,4166666666667 | 0,0483870967741935
[10 empty] | Brewster |  | 56.1667 | 0 | 0 | 0% |  | 15 | 0.2618 | 9.9904 | 0.17436 | 0.035369 | 9.1364 | 0.15946 | 0.05253 | 56,1666666666667 | 0
[17 empty] | 16 | 0.27925 | 10.6469 | 0.18582 | 0.034871 | 9.7357 | 0.16992 | 0.051859
[11 empty] | Uncertainties | [5 empty] | 17 | 0.29671 | 11.3015 | 0.19725 | 0.03434 | 10.333 | 0.18035 | 0.051143
[12 empty] | AOI (°) | refl pow signal (V) | R (with direct meas) |  |  | 18 | 0.31416 | 11.9542 | 0.20864 | 0.033777 | 10.9283 | 0.19074 | 0.050383 | QTI - plot results
[12 empty] | 0.11785 |  | 0.1284% | 0.0813% |  | 19 | 0.33161 | 12.6047 | 0.21999 | 0.033182 | 11.5215 | 0.20109 | 0.049579 |  | n | Dn | rel err
[14 empty] | 0.1066% | 0.08121% |  | 20 | 0.34907 | 13.253 | 0.23131 | 0.032553 | 12.1123 | 0.2114 | 0.048731 | < 50° | 1.627 | 0.011 | 0.6761%
[14 empty] | 0.1011% | 0.08119% |  | 21 | 0.36652 | 13.8988 | 0.24258 | 0.031892 | 12.7007 | 0.22167 | 0.047839 | < 75° | 1.611 | 0.035 | 2.173%
[14 empty] | 0.09969% | 0.08118% |  | 22 | 0.38397 | 14.5422 | 0.25381 | 0.031199 | 13.2865 | 0.23189 | 0.046902 | < 80° | 1.644 | 0.021 | 1.277%
[14 empty] | 0.09961% | 0.08118% |  | 23 | 0.40143 | 15.1829 | 0.26499 | 0.030474 | 13.8696 | 0.24207 | 0.045922
[14 empty] | 0.0996% | 0.08118% |  | 24 | 0.41888 | 15.8208 | 0.27612 | 0.029717 | 14.4498 | 0.2522 | 0.044898 |  | 1.6273 | 0.022333 | 1.375%
[14 empty] | 0.0996% | 0.08118% |  | 25 | 0.43633 | 16.4557 | 0.28721 | 0.028928 | 15.027 | 0.26227 | 0.043831
[14 empty] | 0.0996% | 0.08118% |  | 26 | 0.45379 | 17.0876 | 0.29823 | 0.028107 | 15.6012 | 0.27229 | 0.04272
[14 empty] | 0.09961% | 0.08118% |  | 27 | 0.47124 | 17.7162 | 0.30921 | 0.027256 | 16.172 | 0.28225 | 0.041566
[14 empty] | 0.09962% | 0.08118% |  | 28 | 0.48869 | 18.3415 | 0.32012 | 0.026374 | 16.7394 | 0.29216 | 0.04037
[14 empty] | 0.09965% | 0.08118% |  | 29 | 0.50615 | 18.9632 | 0.33097 | 0.025462 | 17.3033 | 0.302 | 0.039133
[14 empty] | 0.09966% | 0.08118% |  | 30 | 0.5236 | 19.5812 | 0.34176 | 0.024521 | 17.8634 | 0.31177 | 0.037854
[14 empty] | 0.09967% | 0.08118% |  | 31 | 0.54105 | 20.1953 | 0.35248 | 0.023553 | 18.4196 | 0.32148 | 0.036536
[14 empty] | 0.0997% | 0.08118% |  | 32 | 0.55851 | 20.8055 | 0.36312 | 0.022557 | 18.9719 | 0.33112 | 0.035179
[14 empty] | 0.09972% | 0.08118% |  | 33 | 0.57596 | 21.4115 | 0.3737 | 0.021535 | 19.5199 | 0.34069 | 0.033784
[14 empty] | 0.0996% | 0.08118% |  | 34 | 0.59341 | 22.0131 | 0.3842 | 0.020489 | 20.0636 | 0.35018 | 0.032353
[17 empty] | 35 | 0.61087 | 22.6102 | 0.39462 | 0.01942 | 20.6028 | 0.35959 | 0.030888
[17 empty] | 36 | 0.62832 | 23.2026 | 0.40496 | 0.018331 | 21.1373 | 0.36892 | 0.029391
[17 empty] | 37 | 0.64577 | 23.7901 | 0.41522 | 0.017224 | 21.667 | 0.37816 | 0.027864
[17 empty] | 38 | 0.66323 | 24.3726 | 0.42538 | 0.016101 | 22.1917 | 0.38732 | 0.02631
[17 empty] | 39 | 0.68068 | 24.9498 | 0.43546 | 0.014965 | 22.7112 | 0.39638 | 0.024732
[17 empty] | 40 | 0.69813 | 25.5216 | 0.44544 | 0.01382 | 23.2253 | 0.40536 | 0.023134
[17 empty] | 41 | 0.71558 | 26.0877 | 0.45532 | 0.01267 | 23.7339 | 0.41424 | 0.02152
[17 empty] | 42 | 0.73304 | 26.648 | 0.4651 | 0.011519 | 24.2368 | 0.42301 | 0.019894
[17 empty] | 43 | 0.75049 | 27.2023 | 0.47477 | 0.010373 | 24.7339 | 0.43169 | 0.018263
[17 empty] | 44 | 0.76794 | 27.7503 | 0.48433 | 0.0092372 | 25.2248 | 0.44026 | 0.016632
[17 empty] | 45 | 0.7854 | 28.2918 | 0.49379 | 0.0081183 | 25.7095 | 0.44871 | 0.015008
[17 empty] | 46 | 0.80285 | 28.8267 | 0.50312 | 0.0070241 | 26.1877 | 0.45706 | 0.013399
[17 empty] | 47 | 0.8203 | 29.3547 | 0.51234 | 0.0059629 | 26.6592 | 0.46529 | 0.011814
[17 empty] | 48 | 0.83776 | 29.8756 | 0.52143 | 0.0049446 | 27.124 | 0.4734 | 0.010263
[17 empty] | 49 | 0.85521 | 30.3891 | 0.53039 | 0.00398 | 27.5816 | 0.48139 | 0.0087579
[17 empty] | 50 | 0.87266 | 30.8951 | 0.53922 | 0.0030815 | 28.0321 | 0.48925 | 0.0073109
[17 empty] | 51 | 0.89012 | 31.3932 | 0.54792 | 0.0022631 | 28.4751 | 0.49698 | 0.0059368
[17 empty] | 52 | 0.90757 | 31.8833 | 0.55647 | 0.0015407 | 28.9105 | 0.50458 | 0.004652
[17 empty] | 53 | 0.92502 | 32.3651 | 0.56488 | 0.000932 | 29.338 | 0.51204 | 0.0034749
[17 empty] | 54 | 0.94248 | 32.8384 | 0.57314 | 0.0004572 | 29.7575 | 0.51937 | 0.0024263
[17 empty] | 55 | 0.95993 | 33.3029 | 0.58124 | 0.00013898 | 30.1687 | 0.52654 | 0.0015297
[17 empty] | 56 | 0.97738 | 33.7583 | 0.58919 | 2.9754e-06 | 30.5714 | 0.53357 | 0.00081138
[17 empty] | 57 | 0.99484 | 34.2045 | 0.59698 | 7.8078e-05 | 30.9655 | 0.54045 | 0.00030111
[17 empty] | 58 | 1.0123 | 34.6411 | 0.6046 | 0.00039689 | 31.3507 | 0.54717 | 3.2346e-05
[17 empty] | 59 | 1.0297 | 35.0678 | 0.61205 | 0.00099618 | 31.7268 | 0.55374 | 4.2772e-05
[17 empty] | 60 | 1.0472 | 35.4845 | 0.61932 | 0.0019174 | 32.0936 | 0.56014 | 0.00037484
[17 empty] | 61 | 1.0647 | 35.8909 | 0.62641 | 0.0032075 | 32.4509 | 0.56637 | 0.0010764
[17 empty] | 62 | 1.0821 | 36.2867 | 0.63332 | 0.0049192 | 32.7985 | 0.57244 | 0.0022013
[17 empty] | 63 | 1.0996 | 36.6716 | 0.64004 | 0.0071121 | 33.1361 | 0.57833 | 0.0038105
[17 empty] | 64 | 1.117 | 37.0454 | 0.64656 | 0.0098537 | 33.4636 | 0.58405 | 0.0059723
[17 empty] | 65 | 1.1345 | 37.4078 | 0.65289 | 0.01322 | 33.7808 | 0.58959 | 0.0087643
[17 empty] | 66 | 1.1519 | 37.7586 | 0.65901 | 0.017297 | 34.0874 | 0.59494 | 0.012274
[17 empty] | 67 | 1.1694 | 38.0974 | 0.66493 | 0.022183 | 34.3833 | 0.6001 | 0.0166
[17 empty] | 68 | 1.1868 | 38.4241 | 0.67063 | 0.027986 | 34.6683 | 0.60508 | 0.021854
[17 empty] | 69 | 1.2043 | 38.7383 | 0.67611 | 0.034832 | 34.9421 | 0.60986 | 0.028162
[17 empty] | 70 | 1.2217 | 39.0399 | 0.68137 | 0.042863 | 35.2046 | 0.61444 | 0.035668
[17 empty] | 71 | 1.2392 | 39.3286 | 0.68641 | 0.052238 | 35.4557 | 0.61882 | 0.044534
[17 empty] | 72 | 1.2566 | 39.604 | 0.69122 | 0.06314 | 35.695 | 0.623 | 0.054945
[17 empty] | 73 | 1.2741 | 39.8661 | 0.6958 | 0.075774 | 35.9225 | 0.62697 | 0.067111
[17 empty] | 74 | 1.2915 | 40.1146 | 0.70013 | 0.090377 | 36.1379 | 0.63073 | 0.081269
[17 empty] | 75 | 1.309 | 40.3492 | 0.70423 | 0.10722 | 36.3412 | 0.63427 | 0.097693
[17 empty] | 76 | 1.3265 | 40.5698 | 0.70808 | 0.1266 | 36.5321 | 0.63761 | 0.11669
[17 empty] | 77 | 1.3439 | 40.7761 | 0.71168 | 0.14886 | 36.7106 | 0.64072 | 0.13862
[17 empty] | 78 | 1.3614 | 40.968 | 0.71503 | 0.17442 | 36.8764 | 0.64361 | 0.16389
[17 empty] | 79 | 1.3788 | 41.1452 | 0.71812 | 0.20372 | 37.0294 | 0.64629 | 0.19296
[17 empty] | 80 | 1.3963 | 41.3076 | 0.72095 | 0.23729 | 37.1696 | 0.64873 | 0.22638
[17 empty] | 81 | 1.4137 | 41.455 | 0.72353 | 0.27572 | 37.2968 | 0.65095 | 0.26475
[17 empty] | 82 | 1.4312 | 41.5874 | 0.72584 | 0.31971 | 37.4109 | 0.65294 | 0.3088
[17 empty] | 83 | 1.4486 | 41.7044 | 0.72788 | 0.37006 | 37.5117 | 0.6547 | 0.35934
[17 empty] | 84 | 1.4661 | 41.8062 | 0.72966 | 0.42768 | 37.5993 | 0.65623 | 0.41735
[17 empty] | 85 | 1.4835 | 41.8924 | 0.73116 | 0.49365 | 37.6736 | 0.65753 | 0.48393
[17 empty] | 86 | 1.501 | 41.9631 | 0.73239 | 0.56919 | 37.7344 | 0.65859 | 0.5604
[17 empty] | 87 | 1.5184 | 42.0181 | 0.73335 | 0.65577 | 37.7818 | 0.65942 | 0.64828
[17 empty] | 88 | 1.5359 | 42.0575 | 0.73404 | 0.75505 | 37.8157 | 0.66001 | 0.74936
[17 empty] | 89 | 1.5533 | 42.0811 | 0.73445 | 0.86903 | 37.836 | 0.66036 | 0.86576
[17 empty] | 90 | 1.5708 | 42.089 | 0.73459 | 1 | 37.8428 | 0.66048 | 1
PROBLEM:
Background reading is missing for this measurement.
Let's assume there would be also the line in red.
Comment:
Unities are specified.
Meaningful column headings are choosen
PROBLEM:
This is either a typo (the 8 should not be there) or the reading of the angle minutes was not correct (60*0.258 = 15.48 = impossible minute reading).
Let's assume it's a typo.
PROBLEM:
Uncertainties should be mentioned right here. Let's assume there would be written: